PROVINCIAL ASSEMBLY OF THE PUNJAB

Bill No. 16 of 2013

THE PUNJAB WEIGHTS & MEASURES (INTERNATIONAL SYSTEM) ENFORCEMENT (AMENDMENT) BILL 2013

A

B i l l

to amend the Punjab Weights & Measures (International System) Enforcement Act, 1975.

Preamble.– Whereas it is expedient to amend the Punjab Weights & Measures (International System) Enforcement Act, 1975 (LII of 1975) for purposes hereinafter appearing;

It is enacted as follows:-

1.	Short title and commencement.– (1) This Act may be cited as the Punjab Weights & Measures (International System) Enforcement (Amendment) Act, 2013.

(2)	It shall come into force at once.

2.	Amendment in section 2 of Act LII of 1975.– In the Punjab Weights & Measures (International System) Enforcement Act, 1975 (LII of 1975), hereinafter referred to as the said Act, in section 2, in subsection (1)–

(a)	after clause (a), the following clause (aa) shall be inserted:-

“(aa)	“Calibration” means the set of operations which establishes under specified conditions, the relationship between values indicated by a measuring instrument or corresponding known values of measures;”

(b)	after clause (c), the following clause (ca) shall be inserted:-

“(ca)	“Counterfeit” in relation to seal or stamp, means a seal or stamp made to resemble an authorized seal or stamp, which may deceive or likely to deceive any person;”

(c)	after clause (h), the following clause (ha) shall be inserted:-

“(ha)	“repairer” means a person who adjusts, cleans, lubricates, paints or calibrates any weighing instrument or measuring instrument, or renders any other service relating to a weighing instrument or measuring instrument in order to ensure that such weighing instrument or measuring instrument conforms to the standard established by or under the Act;”; and

(d)	after clause (i), the following clause (ia) shall be inserted:-

“(ia)	“seal” means a device or process by which a stamp is made and includes any wire or other accessory which is used for ensuring the integrity of any stamp;”

3.	Amendment in section 11 of Act LII of 1975.– In the said Act, in section 11, after the words “Every manufacturer”, the comma and word “, repairer” shall be inserted.

4.	Amendment in section 17 of Act LII of 1975.– In the said Act, in section 17, in subsection (1)–

(a)	For the words “manufacturing or selling”, the commas and the words “, calibration, manufacturing, repairing or selling” shall be inserted; and

(b)	the Explanation shall be omitted.

5.	Amendment in section 19 of Act LII of 1975.- In the said Act, for section 19, the following shall be substituted:-

“19. Penalty for forged stamp or measure.– (1) If a person forges or counterfeits a stamp used for stamping, or willfully increase or diminishes a weight, measure, weighing instrument or measuring instrument, he shall be punishable with imprisonment for a term which may extend to two years, or with fine which may extend to twenty five thousand rupees, or with both.

(2)	If a person fraudulently uses any weight, measure, weighing instrument or measuring instrument, which he knows to be false, he shall be punished with Imprisonment of either description for a term which may extend to two years, or with fine which may extend to twenty five thousand rupees, or with both.

(3)	If a person has in his possession a weight, measure, weighing instrument or measuring instrument, which he knows to be false, intending to use or fraudulently to be used, he shall be punished with imprisonment of either description for a term which may extend to two years, or with fine which may extend to twenty five thousand rupees, or with both.

(4)	If a person sells any article by weight or measure and delivers or causes to be delivered to the purchaser less than what is purported to be sold and the deficiency exceeds the prescribed limit of error, he shall be punished with imprisonment which may extend to two years or with fine which may extend to twenty five thousand rupees, or with both.

(5)	If any person, who has been convicted of an offence punishable under sub-sections (1), (2), (3) or (4), again commits any such offence, he shall, on second or subsequent conviction, be punishable with imprisonment which may extend to three years and with fine which may extend to fifty thousand rupees but not less than twenty thousand rupees, or with both.”

STATEMENT OF OBJECTS AND REASONS

A number of dynamic developments made in the field of mechanics and electronics have changed by and large the silhouette of weighing and measuring instruments. Especially the introduction of fourth generation computer (Micro processor), digital weighing and measuring instruments become more precise and self deliberated. To make the law in line with the latest devices, some new definitions are required to be added in the law.

An amendment in the Punjab Weights & Measures (International System) Enforcement Act, 1975 was made through an ordinance in 2002 to abolish the licensed repairers without consulting the stakeholders. The ordinance was promulgated with the aim to maintain healthy activities in the field of repairing weights and measures. But adverse repercussions have been observed, resulting a mushroom growth of unqualified and ill-equipped repairers in the delicate field of repairing weighing and measuring instruments. In the other Provinces, only the licensed repairers are allowed to repair a weight or measure. The Government is of the view that acquisition of licence for repairing of weights and measures may be made mandatory to curb malpractices, ensure accuracy of weights and measures and to streamline the system of verification. Penalties, in certain cases, are also proposed to be revised to make the law more effective and address issue of less measurement. Hence this Bill.

Minister Incharge

15 August 2013	Rai Mumtaz Hussain Babar

Acting Secretary